## Select Files
ADAMSEL Merge version 1.1 Copyrights © EJ Remarque
1
Path Name | P:\Ed_Docs\VBA programming\ADAMSEL\Elisa testdata\
Number of files selected | 1 | TRUE
File Type | xle
File Name
Test.xle
Note on A7: Enter the extension for the results files you want to use. ELI is for text results files and XLE is for Excel results files. Only the extension selected will be shown in the File Open dialog box
Add Files
Merge Files
Clear all Sheets
Save Results
Exit ADAMSEL

## Regression
File | Operator | Date | Rsquare | Mean Sq x 1000 | Max Od | Scale | Xmid | Blank | Blank CV (%) | High cut off Od | Low Cut off Od | Calculated [Std] | N Std. incl. | Od = 1 + blank @ | Hi Cut C | Lo Cut C | Comment
a1cig0lj02052005001.txt | ER | 2010-05-24 | 0.9961 | 5.0807 | 3.4977 | 0.81155 | 1.1124 | 0.048 | 2.0833 | 3.393 | 0.0528 | 3.9698 | 14 | 0.53764 | 18.4987 | 0.0053525

## Standard
File | Standard @ | Dilution | Od1 | Od2 | CV Od | Conc1 | Conc2 | CV Conc | Incl 1 | Incl 2
a1cig0lj02052005001.txt | 4 | 1 | 2.893 | 2.871 | 0.38168 | 3.909 | 3.7734 | 1.7648 | T | T
a1cig0lj02052005001.txt | 2 | 2 | 2.477 | 2.477 | 0 | 4.4965 | 4.4965 | 0 | T | T
a1cig0lj02052005001.txt | 1 | 4 | 1.47 | 1.492 | 0.74274 | 3.3364 | 3.4082 | 1.0656 | T | T
a1cig0lj02052005001.txt | 0.5 | 8 | 1.067 | 1.089 | 1.0204 | 4.395 | 4.505 | 1.2356 | T | T
a1cig0lj02052005001.txt | 0.25 | 16 | 0.527 | 0.536 | 0.84666 | 4.0479 | 4.1196 | 0.87843 | T | T
a1cig0lj02052005001.txt | 0.125 | 32 | 0.241 | 0.246 | 1.0267 | 3.5932 | 3.6732 | 1.1001 | T | T
a1cig0lj02052005001.txt | 0.0625 | 64 | 0.146 | 0.138 | 2.8169 | 4.0506 | 3.7728 | 3.5507 | T | T

## Blank
File | Blank1 | Blank2 | Blank3 | Blank4 | Blank5 | Blank6 | Blank7 | Blank8 | Blank9 | Blank10 | Blank11 | Blank12 | Blank13 | Blank14 | Blank15 | Blank16 | Blank17 | Blank18 | Blank19 | Blank20 | Blank21 | Blank22 | Blank23 | Blank24
a1cig0lj02052005001.txt | Blank1: 0.049; Blank2: 0.047

## Samples All
File | Names | Sample Name | Dilution | Od1 | Od2 | CV Od | Conc1 | Conc2 | CV Conc | Avg Conc | CV Avg
a1cig0lj02052005001.txt | None | Sample1 | 1 | 0.44 | 0.455 | 1.676 | 0.21003 | 0.2174 | 1.7231 | 0.21372 | 1.7231
a1cig0lj02052005001.txt | None | Sample1 | 2 | 0.247 | 0.239 | 1.6461 | 0.23057 | 0.22257 | 1.7645 | 0.22657 | 1.7645
a1cig0lj02052005001.txt | None | Sample1 | 4 | 0.144 | 0.125 | 7.0632 | 0.24884 | 0.20711 | 9.1526 | 0.22797 | 9.1526
a1cig0lj02052005001.txt | None | Sample1 | 8 | 0.086 | 0.076 | 6.1728 | 0.23135 | 0.18014 | 12.4455 | 0.20574 | 12.4455
a1cig0lj02052005001.txt | None | Sample1 | 16 | 0.064 | 0.062 | 1.5873 | 0.22812 | 0.2046 | 5.4366 | 0.21636 | 5.4366
a1cig0lj02052005001.txt | None | Sample02 | 1 | 0.495 |  |  | 0.23712
a1cig0lj02052005001.txt | None | Sample02 | 2 | 0.232 |  |  | 0.21556
a1cig0lj02052005001.txt | None | Sample02 | 4 | 0.125 |  |  | 0.20711
a1cig0lj02052005001.txt | None | Sample02 | 8 | 0.079 |  |  | 0.19579
a1cig0lj02052005001.txt | None | Sample02 | 16 | 0.109 |  |  | 0.68311

## Samples
File | Names | Name | Valid N | Odmin | Odmax | Conc | CVconc | wConc | CVwc
a1cig0lj02052005001.txt | None | Sample1 | 10 | 0.062 | 0.455 | 0.21807 | 8.211 | 0.2193 | 5.3835
a1cig0lj02052005001.txt | None | Sample02 | 5 | 0.079 | 0.495 | 0.30774 | 61.1482 | 0.26234 | 44.7654